GALISO EQUIPMENT SPARE PARTS

GALISO INCORPORATED

22 PONDEROSA CT., MONTROSE, CO 81401

(970) 249-0233   (800) 854-3789

This document contains illustrations and tables identifying primary component spare parts for RECORTEST III systems and related auxiliary equipment. This information contained in this document is organized as follows:

1.0 RECORTEST III CONSOLE Spare Parts

2.0 RSP-10D Spare Parts

3.0 HYDRACLOSE Test Head Spare Parts

4.0 HYDRACLOSE Test Jacket Spare Parts

- RCSG and CFS-2 Spare Parts

6.0 PCT-122 Spare Parts

7.0 GVM-16G Valver Spare Parts

If you have any questions or require any additional information regarding spare parts contact your Galiso Customer Service representative at 1-800-854-3789.

1.0 RECORTEST III CONSOLE SPARE PARTS:

Figures 1-1 and 1-2 identify the spare/replacement parts for the RECORTEST III Console. A list of the spares shown in figures 1-1 and 1-2 is also provided below.

SPARE PARTS LIST: TEST CONSOLE RECORTEST III

ITEM NUMBER DESCRIPTION QUANTITY

01-41-7084A TRANSDUCER ASSY REC III 1

01-41-1330A LOAD CELL ASSY REC III 1

01-43-1401B BOARD ASSY RELAY OPTO REC III 1

37-11-8015 WEIGHT LAB 50G OHAUS 2

81-11-0166 VALVE AIR OPERATED 2 WAY NUPRO 2

81-11-0167 VALVE AO 2 WAY WHITEY 1

81-11-0224 VALVE E/P CONTROL 12 VOLT ARO 2

87-11-0048 KEYPAD MEMBRANE RECORTEST III 1

81-11-0131 STEM VALVE SNO TRIK 2

81-11-0132 SEAL STEM SNOTRIK 4

81-11-0133 SEAT REPLACEABLE SNOTRIK 2

81-11-0197 STEM ACTUATOR SNOTRIK 1

81-11-0201 RING PACKING 2

81-11-0208 SPACER 1

1.0 RECORTEST III CONSOLE SPARE PARTS: continued

Figure 1-

Figure 1-

2.0 RSP-10D SPARE PARTS:

RSP-10D spare parts are tabulated below. Figures 2-1 and 2-2 depict the parts listed.

RSP-10D SPARE PARTS LIST

ITEM NUMBER DESCRIPTION QUANTITY

40-11-3002 SEAL KIT 4

01-44-0536G PUMP ASSY 1

36-11-0508 2” GAGE 160# G14397 1

36-11-0510 GAGE 300# G14399 1

36-11-0523 GAUGE 2” 160# 1/8” BKCN 1

37-11-3002 REGULATOR MINI WATTS 1

37-11-3076 REGULATOR LARGE 125# 1/2’ 1

40-11-3014B SEAL KIT PUMP GDP-5SI 1

54-11-0003 OIL NON DET. 10 WEIGHT 1 QUART

80-11-0040 FILTER 1

80-11-0042 FILTER 1/2” 1

80-11-0051 ELEMENT FILTER 1

80-11-0052 ELEMENT FILTER 1

80-11-0053 ELEMENT FILTER 1

80-11-0066 FILTER AIR LINE 1/2” 1

80-11-4009 FILTER ELEMENT WATER 5 MICRON 1

80-11-4024 LUBRICATOR 125 PSI 1/2 NPT 1

80-11-7001 MUFFLER 3/4” NPT 1

80-75-4008 HOUSING FILTER 1

81-11-0009 VALVE BALL 1/2 NPT 1

81-11-0023 VALVE CHECK OUT 11-5023S000 1

81-11-0024 VALVE CHECK IN 11-5024S000 1

81-11-0045 VALVE AIR PILOT 5 WAY 1

81-11-0077 VALVE CONTROL MINI 3W-5/32 2

81-11-0176 VALVE 2 WAY ½ 1

01-31-1866A VALVE HERION 1/2 3 WAY AIR PILOT 1

81-11-0216 VALVE PLUG 1/4 MPTX1/4 FPT 1

83-11-0030 VALVE CHECK 1/2” FPT 1

83-11-0047 SAFTEY VALVE 1/4” 125 PSI 1

83-11-2503 RELIEF VALVE 1/4”NPT 175PSI 1

2.0 RSP-10D SPARE PARTS:

Figure 2 -

Figure 2 -

3.0 HYDRACLOSE TEST HEAD SPARE PARTS:

HYDRACLOSE Test Head spare parts are tabulated below. Figures 3-1 and 3-2 depict the parts listed.

3.1 12” OHH and GHH Style Heads

Figure 3 - 1

SPARE PARTS LIST: 12” HEADS GHH/OHH

ITEM NUMBER DESCRIPTION QUANTITY

01-33-4531M BOOT 1

01-41-4694 STEM 1

01-41-4690 STEM with Adapter 1

01-41-2840A DIAPHRAGM KIT 1

40-87-6212 ORING 2-212 1

50-41-0032 BALL BRGS 8

69-87-0021 SEAL (QC FEMALE) HP 1

3.2 18” GHH and OHH Style Heads

Figure 3 - 2

SPARE PARTS LIST: 18” HEADS OHH

ITEM NUMBER DESCRIPTION QUANTITY

01-33-5506L BOOT 1

69-38-0053 SNAP TITE 1

01-41-2931 KIT 1

69-38-0007 FEMALE 1

4.0 HYDRACLOSE TESTJACKET SPARE PARTS:

HYDRACLOSE Test Jacket spare parts are tabulated below. Figure 4-1 depicts the parts listed.

Figure 4 -

SPARE PARTS LIST: RTT JKT (OIL PUMP) 01-41-3223A

ITEM NUMBER DESCRIPTION QUANTITY

83-11-5011 CHECK VALVE 1

83-11-0013 SAFTEY 1

01-11-2811 10,000 PSI HOSE 1

01-11-2812 LP HOSE 1

69-87-0021 or 69-41-0022 SEAL (QUICK CONN FEMALE) HP 2

5.0 PCT-122 SPARE PARTS:

Figures 5-1 and 5-2 depict the primary component spare parts for the PCT-122. The parts shown are also tabulated below.

Figure 5 -

Figure 5 -

5.0 PCT-122 SPARE PARTS: continued

SPARE PARTS LIST: CYLINDER INVERTER 25-54-9480L

ITEM NUMBER DESCRIPTION QUANTITY

25-41-4056 PCT CONTROLLER 1

25-41-4055A HARNESS CONTROLLER 1

14-33-0045B GRIP CYLINDER 1

25-31-9241A COUPLING INJECTION PCT 1

25-43-9338A PROBE INJECTION 5” RADIUS PCT-122 2

25-43-9339A PROBE INJECTION 6.25 RAD PCT-122 2

50-00-0021 BEARING ROLLER 1

50-00-0025 BEARING THRUST 1

50-00-0027 RACE THRUST 1

69-94-0028 QUICK CONNECT WASHER 2

66-33-7001 PIN QUICK RELEASE 1/2 DIAX 4.5 L SST 1

69-00-0003 PLUG QC MALE 3/8 FPT 1

69-11-0002 COUPLER QC 1

81-11-0088 VALVE DISC 2 WAY 3/8 11439-010 1

81-11-0172 VALVE DISC ¾ 1

81-11-0224 VALVE CONTROL STACKABLE 12 VOLT 1

83-11-0038 VALVE CHECK ¾ 1

83-11-0047 SAFTEY VALVE ¼ 1

87-11-0025 SWITCH HEX KEY PAD MICROSWITCH 1

93-41-1030A POWER SUPPLY ASSY 1

6.0 GVM-16 SERIES VALVER SPARE PARTS:

Figures 6-1 and 6-2 depict the primary component spare parts for the GVM-16G valver. The parts shown are also tabulated below.

Figure 6 -

6.0 GVM-16 SERIES VALVER SPARE PARTS: continued

Figure 6 -

SPARE PARTS LIST: VALVING MACHINE GVM-16G 14-54-0176D LHPV

ITEM NUMBER DESCRIPTION QUANTITY

14-13-0137 HOSE AIR 250 PSI 3/8’ ENDS BLUE 1

14-13-0138 HOSE AIR 250 PSI 1/2” ENDS BLUE 1

14-31-0052B GEAR SUN GVM-16 1

14-31-0108B KEY SUN GEAR GVM-16 1

36-11-0520 GAGE 0-160 2.5 D 1

37-11-3048 REGULATOR LARGE 125# 1/2 1

62-79-6505 SCREW SKT BHD 3/8-24X1” L BLK OXIDE 1

66-00-5009 PIN ROLL 1/4 DX3L 1

83-11-0031 CHECK VALVE 1/4” 1

81-11-0002 VALVE 3 WAY (TORQUE BOOST) 1

81-11-0003 VALVE 4 WAY (CLAMP CONTROL) 1

81-11-0018 VALVE CONTROL (INSERT/REMOVE) 1